## Slide 1
Self-Test Overview
Self-test is a method of automatically testing all signals in a test system for system verification. Common verification items tested for are faulty hardware, incorrect software configurations, and misrouted cables.
Inputs to the tester (outputs from the UUT) are verified by generating a signal with verification instrumentation (SMU), routing it to the panel connector of the signal-under-test, and then back into the system to be measured by the signal measurement hardware.
Outputs from the tester (inputs to the UUT) are verified by generating a voltage/current from the signal hardware and routing it to the panel, then routing it back into the system to be measured by verification instrumentation (DMM).

## Slide 2
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards

## Slide 3
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards
Signal Generation

## Slide 4
Signal-under-test generated in PXI/SLSC and sent to connector on back of routing card.
Signal-under-test has relay to front of card connected. All other signal connect relays for other signals in the system are disconnected.
Signal connects to interface panel with HD44 <> Nanofit cable.
Signal Generation
1
2
3

## Slide 5
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards
Signal Duplication to Verification Connectors

## Slide 6
1
Signal-under-test routes through the panel from the Nanofit signal connector to the HD44 Verification connector to be routed back into the test rack.
Signal Duplication to Verification Connectors

## Slide 7
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards
Instrument Bus Connection

## Slide 8
1
2
3
Signal-under-test routed from Verification connector to Routing card J2 connector using HD44 <> HD44 cable
Signal-under-test connected to DMM bus or SMU bus using internal routing card relays
Signal-under-test appears at XJ3 Ultrafit connector on rear of SLSC routing card
Instrument Bus Connection

## Slide 9
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards
Chassis Ultrafit Busboard Connection

## Slide 10
Signal-under-test routed onto Ultrafit busboard. Pins per connector on busboard are shorted together i.e. all pin 1s are shorted together, all pin 2s are shorted together. Note: As all signals other than the signal-under-test are disconnected, no signal collisions will occur on the bus.
Other SLSC routing cards that have self-test connections will be connected to the same busboard. There will be one busboard per chassis.
Chassis Ultrafit Busboard Connection
1
2

## Slide 11
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards
PXI Matrix Busboard Selection

## Slide 12
All chassis busboards have one Ultrafit connected to the PXI switch matrix. As all pins on the busboard are shorted together, if there is a signal under test on any card in a chassis it will be routed on that Ultrafit connector.
The PXI switch matrix selects which chassis will be multiplexed onto the lines going to instrumentation (DMM/SMU).
PXI Matrix Busboard Selection
1
2

## Slide 13
Interface Panel
SLSC Routing Card
I2 to UUT
(disconnected)
Signal Connector
Verification Connector
Connection between signal and verification connectors through panel
XJ2 (RTI)
XJ3 (RTI)
J1
J2
HD44
<>
Nanofit
HD44
<>
HD44
Signal Connect Relay
DMM Connect Relay
SMU Connect Relay
Other SLSC cards in same chassis
Ultrafit Busboard
Generated Signal
(i.e. +/- 10V AO)
PXI Switch Matrix
VirtualBench or PXI
SMU
DMM
Other chassis Ultrafit bus boards
PXI Matrix to Instrumentation

## Slide 14
Signal-under-test- routes from PXI switch matrix to DMM for measurement. In the case of an input to the tester (output from the UUT), this path is reversed and a voltage is generated by the SMU, routed through the switch matrix to a chassis busboard, routed through SLSC, and appears at the panel to be measured by the signal measurement hardware.
PXI Matrix to Instrumentation
1